Directions:

Using the installation manual of the unit you are working on, determine the option setting (segment 2), segment number and value you need to adjust to configure the system. As you work through the option setting pages in the manual, fill in the value of the segments you wish to change. In chart 1.

Once you have all the segments for each page configured create the code using figure 1.

Now that you have created the code, you will need to program it into the unit. If you are using a handheld controller, use chart 2 below.  Fill in each segment value for the code. Use this chart to help program the controller. The handheld controller’s display should correspond to the setting in chart #2. Once the code is entered into the controller point the controller at the indoor unit and press the power button.

If you require further assistance, please contact your Regional Technical Services Manager.

Chart 1

Figure 1

Chart 2

on

Auto

Seg 2  Seg 3

on

Cool

on

Dry

on

Fan

on

Heat

Off

Auot

Cool

Dry

Fan

Heat

Off

Off

Off

Off

Seg 4  Seg 5

Seg 6  Seg 8

Seg 9  Seg 10

Seg 11  Seg 12

Seg 14  Seg 15

Seg 16  Seg 17

Seg 18  Seg 20

Seg 21  Seg 22

Seg 23  Seg 24

0_____-1_____-2_____-3_____

1    2   3    4    5    6           7   8    9   10  11   12     13  14   15  16  17   18    19  20   21  22  23  24