ProK Buttons CAC

K4 Button                                                                                        K1 or K2 Buttons

Option Setting. Press K2 for 2 seconds to enter option setting mode. Shortly press the K1 switch to adjust the value of Seg 1, Seg 2. shortly press the K2 switch to adjust the value of Seg 3, Seg 4. press and hold the K2 switch for 2 seconds to save the setting.

K Buttons FJM

K1 or K2							K4

10 - A

11 - B

12 - C

13- D

Inverter Check Display

14 - E

15 - F

16 - G

Celsius to Fahrenheit conversion:   F = C x 1.8 + 32

KW to KBTU/hr: Btu/hr = KW x 34122.142

Protection Mode

16 - G

DVM S

Initial Settings

K1 Buttons

K 2 Buttons

K 4 Buttons

MPA to PSIG: PSIG = MPA X 145.038

Celsius to Fahrenheit conversion:   F = C x 1.8 + 32

KW to KBTU/hr: Btu/hr = KW x 34122.142